1/23/15		DATE	Technology		DIVISION

REQUIRED COURSE	         X		NEW COURSE

___X___		ELECTIVE COURSE			REVISION

LAKE LAND COLLEGE

Course Information Form

COURSE NUMBER	  EET 068  	TITLE  Photovoltaic Systems

SEM CR HRS    3  	     LT HRS    2   	  LAB HRS    2  	SOE HRS  	          ECH    3.6

COURSE PCS #     					(Assigned by Administration)

PREREQUISITE:  EET 040, EET 050

CATALOG DESCRIPTION:  This course is designed to provide a technical foundation for design, installation, and evaluation of residential and commercial photovoltaic systems.  Concepts of system advantages and disadvantages, site evaluation, system design and sizing are assessed.

CONTENT	LECTURE	LAB

OUTLINE	HOURS	HOURS

Introduction to Photovoltaic Systems	2	2

Solar Radiation		2	2

Site Survey & Preplanning	2	2

System Components & Configuration	2	2

Cells, Modules, and Arrays	2	2

Batteries		2	2

Charge Controllers	2	2

Inverters		2	2

System Sizing		2	2

Mechanical Integration	2	2

Electrical Integration	2	2

Utility Interconnection	2	2

Permitting and Inspection	2	2

Maintenance & Troubleshooting	2	2

Economic Analysis	2	2

TOTAL		30	30

EVALUATION:	Quizzes     X    	Exams     X    	Oral Pres. 		Papers __X__

Lab Work  X    	Projects __X__Comp. Final    X   	Other

TEXTBOOK:	Title	Photovoltaic Systems

Publisher		American Technical Publishers

Volume/Edition	  2nd

Copyright Date   2011

Major Course Segment	Lecture/Lab Hours	Learning Outcome

The student will be able to:

Introduction to Photovoltaic Systems	2/2	Evaluate the design priorities ________________________________________________for PV systems in different types                                                                                                  of applications.	_

Solar Radiation	2/2	Describe solar power and ________________________________________________solar energy.  Understand the                                                                                                     factors affecting the suns                                                                                                           apparent path through the sky.

_________________________________________________________________________

Site Survey & Preplanning	2/2	Explain the process of

determining  potential array                                                                                                         locations.		______

System Components & Configuration	2/2	Identify the common types of                                                                                                      energy storage systems.                                                                                                            Compare the functions of

various power conditioning____                                                                                                  devices.__________________

Cells, Modules, and Arrays	2/2	Identify the relationships                                                                                                             between PV cells, modules,                                                                                                       and arrays.________________

_____

Batteries	2/2	Evaluate the major components                                                                                                  of batteries and the function of                                                                                                   each component.___________ _________________________________________________________________________

Charge Controllers	                                    2/2 ____________Identify the principle functions                                                                                                    and features of charge_____                                                                                                     controllers. Define charge                                                                                                           regulation and load control                                                                                                         set points.________________

_______________________________________________________________________

Inverters	2/2	Identify basic waveform types ________________________________________________and properties. Explain the ________________________________________________basic types of inverters in PV ________________________________________________systems.________________

_________________________________________________________________________

System Sizing	2/2	Describe the system energy and ________________________________________________power requirements from a load ________________________________________________analysis.  Calculate critical ________________________________________________design parameters, size and ________________________________________________configuration.____________

_______________________________________________________________________

Mechanical Integration	2/2	Summarize the key factors ________________________________________________involved in choosing a mounting ________________________________________________system.  Describe the various ________________________________________________types of attachment methods.

_______________________________________________________________________

Electrical Integration	2/2	Calculate the voltage and ________________________________________________current limits for various circuits ________________________________________________of a PV system. Describe the ________________________________________________required types of disconnects ________________________________________________and their installation._________

_________________________________________________________________________

Utility Interconnection	2/2	Identify the applicable codes ________________________________________________and standards for utility ________________________________________________interconnection. Identify the ________________________________________________common issues addressed in ________________________________________________interconnection agreements for ________________________________________________small PV systems.__________

_________________________________________________________________________

Permitting and Inspection	2/2	Explain building codes and code ________________________________________________enforcement in electrical ________________________________________________installations. Describe the ________________________________________________common requirements for permit ________________________________________________applications._______________

_________________________________________________________________________

Maintenance, & Troubleshooting	2/2	Identify the maintenance task ________________________________________________involved with maximizing array ________________________________________________output, battery health, and other ________________________________________________equipment operation. Develop a ________________________________________________maintenance plan based on ________________________________________________system configuration.________

_________________________________________________________________________

Economic Analysis	2/2	Describe how present and____ ________________________________________________future cost are calculated._____ ________________________________________________Compare energy production ________________________________________________systems based on total life cycle ________________________________________________cost.

Course Outcomes: At the successful completion of this course, students will be able to:

- Evaluate the design priorities for PV systems in different types of applications.

- Evaluate how array orientation affects solar energy received by modules.

- Evaluate the design priorities for PV systems in different types of applications.

- Identify the relationship between PV cells, modules, and arrays.